Zone Voice Alarm Remote Microphone

EN-6500FM

Features:

- Fireman microphone meet the EN54 standard.

- Four programmable keys and EVAC/Alert.

- Remote pre-recorded message broadcast in case of emergency.

- Remote fireman microphone highest priority announcement in case of emergency.

- Emergency microphone signal path real-time monitoring.

- Different levels of priority configurable.

- Support DC 24V phantom power supply from the controller.

- With AC, DC, fault, MIC and indication test four indicators.

- With emergency activation button for all zone EVAC operation.

- Communication distance up to 600 meters.

- Communication with controller through CAT6 cable.

- Each system supports 32 units of fireman microphone maximum.

- Support normal paging mode and PTT modes.

- With DIP switch to set its ID on rear panel.

- Support line redundancy connection.

- With lock and key to ensure access permission.

- IP55 outdoor operation support.

Specifications:

| Model | EN-6500FM |
| --- | --- |
| Description | Fireman Microphone |
| Power Consumption | 3W |
| System Capacity | 32 units |
| Frequency Response | 80Hz~16kHz |
| THD | ＜1% at RMS,1KHz |
| S/N Ratio | >70dB |
| SPL | 30mV |
| Power Supply | Phantom power 20V ~ 27.5V, ±20% |
| IP Rate | IP55 |
| Operating Temp/Humidity | -20℃ to +50℃; <95% no condensation |
| Finish | Stainless steel in red and ABS cover |
| Dimension & Weight | 298(W)×298(D)×89(H) mm; 3.8kg |