6" Coaxial Ceiling Speaker (7.5W-15W-30W)                                                                                     
FCS-630C

Feature:

- Commercial ceiling speaker with transformer

- Ideal for school, office, hotel and airport background music system

- Rated power output 7.5W-15W-30W at 100V

- 6" coaxial paper woofer and 1.5” tweeter

- Line input 100V or 70V

- ABS enclosure and metal grille in white

- Flush mount in-ceiling quick and secure installation

Specification：

| Model | FCS-630C |
| --- | --- |
| Description | 6” Coaxial Ceiling Speaker |
| Rated Power Output | 7.5W/15W/30W |
| Line Input | 100V or 70V |
| Frequency Response | 110-18KHz |
| SPL(@1W/m) | 93dB |
| Speaker Unit | 6" coaxial paper woofer and 1.5” tweeter |
| Cutout Size | 195mm |
| Dimension | 230(D)×85(H)mm |
| Material | ABS enclosure and metal grille in white |
| Mounting Way | Flush mount in-ceiling quick and secure installation |
| Weight | 0.9kg |

Dimension & Mounting:

Frequency Response & SPL Diagrams：