8" Coaxial Ceiling Speaker (10W/20W/40w)                                         
FCS-640C

Feature:

- Commercial ceiling speaker with transformer

- Ideal for school, office, hotel and airport background music system

- Rated power output 10W/20W/40w at 100V

- 8" coaxial paper woofer and 1.5” tweeter

- Line input 100V or 70V

- ABS enclosure and metal grille in white

- Flush mount in-ceiling quick and secure installation

Specification：

| Model | FCS-640C |
| --- | --- |
| Description | 8” Coaxial Ceiling Speaker |
| Rated Power Output | 10W/20W/40w |
| Line Input | 100V or 70V |
| Frequency Response | 50-18KHz |
| SPL(@1W/m) | 93dB |
| Speaker Unit | 8" coaxial paper woofer and 1.5” tweeter |
| Cutout Size | 248mm |
| Dimension | 280(D)×100(H)mm |
| Material | ABS enclosure and metal grille in white |
| Mounting Way | Flush mount in-ceiling quick and secure installation |
| Weight | 1.3kg |

Dimension & Mounting Guidance:

Frequency Response & SPL Diagrams：