4.5" Frameless Ceiling Speaker (3W-6W)                                                         
FCS-705N

Feature:

- Commercial ceiling speaker with transformer.

- 4.5” ceiling speaker for BGM and PA system use.

- Compact size consistent with spot lighting and architectural design.

- Ideal for school, office, hotel and airport background music system.

- Rated power output 3W-6W at 100V.

- 5" full range paper driver unit.

- Line input 100V or 70V.

- ABS enclosure and metal grille in white.

- In-ceiling quick installation by spring clip.

Specification:

| Model | FCS-705N |
| --- | --- |
| Description | 4.5” Ceiling Speaker |
| Rated Power Output | 3W-6W |
| Line Input | 100V or 70V |
| Frequency Response | 120Hz-18KHz |
| SPL(@1W/m) | 92dB ±3db |
| Speaker Unit | 4.5” full range paper cone |
| Cutout Size | 148mm |
| Dimension | 160D)×56(H)mm |
| Material | ABS enclosure and metal grille in white |
| Mounting Way | In-ceiling spring clip quick installation |
| Weight | 0.42kg |

Frequency Response VS SPL: